USING DUPLEX

DUPLEX is a program that allows one  to  talk  to  the  treatment

planning  computer (the 11/45) from any terminal on the main sys-

tem, (the 11/44).  Only one person at a time can use DUPLEX, (be-

cause there is only one spare terminal interface on the 11/45.)

Use is as follows:

1.  Log on to 11/44 system in the normal way.

2.  Evoke DUPlex MCR>DUP<cr>

(Duplex is now active and the effect is the same  as  if

you  had  physically  re-connected  your terminal to the

11/45.)

3.  Type another control-C to activate HELLO or MCR  on  the

11/45.

4.  Due to hardware limitations, operation on the  11/45  is

limited to 300 BAUD.

5.  After performing operation, (i.e.  entering  calibration

data,) log off the 11/45 in the normal way.

6.  To get out of DUPlex state, type a control-B.  (You  can

do  this at any time, but you will leave yourself logged

in on the 11/45.)

7.  After typing the control-B, you may have to type another

control-C to get MCR back.

8.  REMEMBER, if DUPlex is running, a control-C gets MCR  on

the  11/45, if DUPlex is not running, control-C gets MCR

on the 11/44.

Note that DUPLEX also has the capability  of  transmitting  ascii

data between the two systems.  See AID DUP for help.

F.  Borger, June 30, 1984